| Equipment/Tool Engineer: | Date Equipment Decommissioned: |
| --- | --- |
| Name of Organization: |  |
| Tool Identification | Equipment Description |
| Tool ID Code: |  |
| Tool Name: |  |
| Building and Room Number: |  |
| Manufacturer/Supplier: |  |
| Model: |  |

| Pre-Decommissioning |
| --- |
| Description | Equipment Engineer/ Tool Owner (Initials) | EHS (Initials) | N/A |
| Has the decommission been presented to the tool owner and CRB? CRB Release date: |  |  |  |
| A description of the demolition and decommissioning work has been reviewed by EHS? |  |  |  |
| A work plan for the decontamination of the equipment and support systems (if necessary) has been reviewed by EHS? (Ref. Doc. # EHS-00037) |  |  |  |
| A plan for the lockout/tagout of the equipment’s hazardous energy source(s) has been reviewed by EHS? |  |  |  |
| TGMS, ERT, and Facility Engineering/system owners have been notified of the decommissioning work plan? |  |  |  |
| Has a DCN to the P&ID been issued? |  |  |  |

# EHS approval to perform Decontamination:      	 Date:

| Decontamination Verification |
| --- |
| Description | Install Coordinator (IC) (Initials) | Equipment Engineer (Initials) | N/A |
| Have all affected bulk chemical delivery lines been isolated from the tool, drained, and have the remaining lines been capped? |  |  |  |
| Have all applicable equipment systems, support equipment, parts, components, and interconnects been properly flushed, purged, and decontaminated in compliance with Policy for Equipment Decontamination (EHS-00037)? |  |  |  |
| Have all affected waste drain lines been isolated from the tool, drained, and have the remaining lines been capped? |  |  |  |
| Have the remaining lines been cut back (to reduce tripping and bump hazards) and capped? |  |  |  |
| Has support equipment, which is to continue serving other tools, been isolated from the tool, and affected lines purged (or drained) and properly capped or decontaminated? |  |  |  |
| Have all segments of process gas lines, vents, forelines/pumping lines, bulk delivery, waste drains and exhaust ductwork been decontaminated, and have provisions been made for the proper disposal of all hazardous waste generated by the removal of this tool? |  |  |  |
| Has EHS been informed about abatement device removal? |  |  |  |
| Have all inert facilities piping and inert process piping been isolated from the tool? |  |  |  |
| Have all inert facilities piping been isolated from affected support equipment and capped? |  |  |  |
| Are all remaining electrical wiring and equipment protected from water potential? |  |  |  |
| Has support equipment, which is to remain in service, been relabeled to reflect the removal of this tool (HAZCOM labels, tool associations, etc.)? |  |  |  |
| Is the EHS Equipment Decontamination Certification Form (EHS-00037-F1) posted on the equipment or component? |  |  |  |

EHS Verification: _     ___________________________________	 Date: _     _____

| Decommissioning |
| --- |
| Description | Equipment Engineer/ Tool Owner (Initials) | EHS (Initials) | N/A |
| Has the Equipment Engineer/ Tool Owner applied administrative locks? |  |  |  |
| Have EHS process control locks been applied to HPMs? #_________ |  |  |  |
| a. For modification: has the TGMS matrix been revised and approved by TGMS and EHS? |  |  |  |
| b. For complete TGMS removal: has TGMS and EHS approved? |  |  |  |
| Have approvals been obtained from TGMS and EHS for idling or bypass of TGMS points? |  |  |  |
| Have tool utility turn off requests been submitted to the TOOL_TURN-ON@LISTSERV.SUNYPOLY.EDU for NY CREATES managed utilities and the chemservice@listserv.sunypoly.edu for HPM and inerts managed by the chemical gas management firm? |  |  |  |
| Have approvals been obtained from FOG/FEG for removal and deprogramming of Building Fire Alarm System monitoring points? |  |  |  |
| Have affected fire suppression systems been isolated from the tool, removed from fire alarm network and program? |  |  |  |

# EHS approval to remove equipment: _     _____________________Date:

# TGMS approval:      	 Date:

| Equipment Removal |
| --- |
| Description | Install Coordinator (IC) (Initials) | Equipment Engineer/ Tool Owner (Initials) | N/A |
| Have all process piping labeling been updated to reflect any changes in direction of flow or contents? |  |  |  |
| Have all exhaust duct work been removed to the nearest blast-gate and capped. Has the remaining branch(es) been rebalanced? |  |  |  |
| Has TGMS completed decommissioning and removal? |  |  |  |
| If TGMS equipment is left in place and idled, are the devices clearly labeled with date of removal from active services? |  |  |  |
| Have all electrical feeds to tool and support equipment been removed back to the electrical panel? Have breakers and panel index card been relabeled as spare? |  |  |  |
| Are all remaining electrical junction covers secured? |  |  |  |
| Is good wiring management exhibited for all remaining wiring? |  |  |  |
| Have all wall, floor, and ceiling penetrations, which were created by the removal of the tool (or its support equipment), been properly sealed? |  |  |  |
| Have all affected TGMS documentation been completed and updated? |  |  |  |
| Has all unneeded equipment been removed from the area? |  |  |  |
| Has all unnecessary clutter been cleaned and removed from the area? |  |  |  |
| Has all unnecessary tape, debris or tags on walls, floors and equipment been removed? |  |  |  |
| Have all equipment and work areas impacted by the equipment removal been checked and cleaned? |  |  |  |
| If the tool presented ionizing radiation potential (e.g., x-ray, Beta, etc.) has the disposal date been filled-in on the Radiation Inventory Form and the completed form logged with the EHS Radiation Safety Office (RSO)? If the tool presents non-ionizing radiation has an email been sent to the RSO? Date:___________ |  |  |  |
| Have all LOTO locks been removed? (Administrative control locks may remain in place) |  |  |  |

# EHS approval:      	 Date:

| SIGN-OFF PUNCHLIST |
| --- |
| Issue | Responsible Party | Completion Date |

| Equipment Sign-Off | Not Applicable |
| --- | --- |
|  | Print Name | Signature | Date |  |
| Equipment/Tool Engineer |  |  |  |  |
| Facilities Engineer (Exhaust) |  |  |  |  |
| Facilities Engineer (Drains) |  |  |  |  |
| Facilities Engineer (Electrical) |  |  |  |  |
| Facilities Engineer (Building Fire Alarm) |  |  |  |  |
| Chemical/Gas Manager |  |  |  |  |
| Tool Hookup Project Manager |  |  |  |  |
| TGMS |  |  |  |  |
| NYCREATES Equipment Engineering Manager |  |  |  |  |
| Other: |  |  |  |  |
| EHS |  |  |  |  |

| General Comments |
| --- |
| Comment | Initials | Date |