ATTACH THIS FORM TO THE EQUIPMENT/TOOL AFTER COMPLETION OF DECONTAMINATION.

| Equipment/Tool Engineer: |  | Date: |
| --- | --- | --- |
| Name of Organization: |  |
| Tenant Equipment Owner: |  |
| Other: |  |
| Equipment/Tool Identification | Description |
| Equipment/Tool Hex ID: |  |
| Name/Model: |  |
| Manufacturer/Supplier: |  |
| Building and Room Number: |  |
| Part(s): |  |
| List All Chemicals/Gases Used: |  |
| Other Hazards: |  |
| By signing this section, I certify that the equipment/tool has been decontaminated consistent with applicable regulations, standards, engineering practices, manufacturer’s instructions, and EHS-00037 SUNY Poly Policy for Equipment Decontamination. |
|  | Name | Signature | Date |
| Equipment/Tool Owner: |  |  |  |
| Equipment/Tool Engineer: |  |  |  |
| Decontamination Results | Yes | No (explain) | N/A |
| All chemicals and residue, debris, wafer chips, magnetized/radioactive materials or gas purification /filter systems have been removed. |  |  |  |
| Gas systems have been purged and are at atmospheric pressure. |  |  |  |
| Free liquids have been removed/drained and flushed. |  |  |  |
| Surfaces previously exposed to corrosives now have a pH between 5 and 9 and are free of fluorides. |  |  |  |
| Explanation: |  |
| List all Chemical/Gas Lines, Exhaust, Drains, Chambers, and Equipment that were Decontaminated* |
| Component/Line Description | Chemical/Gas Decontaminated | Printed Name of Person Performing Decontamination | Signature Indicating Completion of Decontamination | Date |

*Attach additional sheets if necessary