| Area/Project Title: |
| --- |
| Facilities Engineer/Project Manager: | Date: |
| Project Description: |

Only a YES Response requires additional documentation or discussion. A draft layout is usually sufficient for this purpose. Check YES or NO to answer the following:

| SAFETY SECTION |
| --- |
| Do temporary alternative evacuation routes need to be established? | Yes No |
| Does the new layout require a secondary emergency exit that is not present? | Yes No |
| Are any aisles or exits restricted or narrowed? | Yes No |
| Is a change to the emergency lighting system required? | Yes No |
| Is the gas alarm system going to be modified? | Yes No |
| Will any existing door swings be reversed? | Yes No |
| Is a new or temporary emergency eyewash/shower required? | Yes No |
| Is corrosive or flammable storage required? | Yes No |
| Will an in-house breathing air system be added or moved? | Yes No |
| Will any ionizing radiation equipment be moved? | Yes No |
| Will "live" electrical work be required for the project? | Yes No |
| Will the fire alarm system (sprinklers/heat/smoke detectors) be moved or compromised? | Yes No |
| FACILITIES SECTION |
| Will this change have any impact on heating, ventilation or air conditioning? | Yes No |
| Will this change have any impact on any other utilities? | Yes No |

Approvals:

| EHS Signature: |  | Date: |  |
| --- | --- | --- | --- |
| Facility Operations Signature: |  | Date: |  |
| Code Compliance Signature: |  | Date: |  |
| Comments: |