| Area/Project Title: |
| --- |
| Facilities Engineer/Project Manager: | Date: |
| Project Description: |

Check YES or NO or N/A to answer the following:

Fire/Life Safety

- Is each fire emergency exit properly marked and illuminated?					Yes  No  N/A

- Do all fire emergency doors swing in the direction of exit travel?					Yes  No  N/A

- Has emergency lighting been installed and tested?							Yes  No  N/A

- Has fire alarm system been tested as required?								Yes  No  N/A

- Are portable fire extinguishers provided, as required? 						Yes  No  N/A

- Are fire doors in good operating condition?									Yes  No  N/A

- Are exits marked and accessible?										Yes  No  N/A

- Are fire detectors working?												Yes  No  N/A

- Has flammable storage cabinet been registered with EHS department?			Yes  No  N/A

- Fire emergency doors cannot be locked from inside, is each equipped with panic 
or other simple type of releasing device?									Yes  No  N/A

- Is clearance of 18” maintained from sprinkler head to top of stored materials? 		Yes  No  N/A

- Have evacuation maps, routes and plans updated?							Yes  No  N/A

- Have all penetrations of firewalls been sealed?								Yes  No  N/A

- Have sprinklers been modified?											Yes  No  N/A

- Are all rooms identified with room numbers?								Yes  No  N/A

Electrical

- Are electrical outlet boxes covered and labeled?							Yes  No  N/A

- Are outlet circuits properly grounded?										Yes  No  N/A

- Are circuit breakers identified and labeled?									Yes  No  N/A

Work Environment

- Are all work areas properly illuminated?									Yes  No  N/A

- Are noise levels within acceptable limits?									Yes  No  N/A

- Do temperature, humidity and air movement in all work areas fall within 
comfort limits? 														Yes  No  N/A

- Is adequate headroom provided for the entire length of any aisle or walkway?		Yes  No  N/A

General

- Are all floor and wall openings sealed?									Yes  No  N/A

- Are floors, aisles, work areas free of obstruction, slipping and tripping hazards?		Yes  No  N/A

- Were waste materials, stored in appropriate containers and disposed of safely?		Yes  No  N/A

- Was scheduled maintenance of local exhaust system completed?				Yes  No  N/A

- Is there safe clearance for equipment through aisles and doorways?				Yes  No  N/A

- Has construction debris been removed?									Yes  No  N/A

Approvals:

| EHS Signature: |  | Date: |  |
| --- | --- | --- | --- |
| Facility Operations Signature: |  | Date: |  |
| Code Compliance Signature: |  | Date: |  |
| Comments: |