PART I: TO BE COMPLETED BY THE REQUESTER:

Requester Name:

Requester Title:

Requester Phone Number:

Date:    /   /

- Description of circuit / equipment / job location:

- Description of work to be done:

- Justification of why the circuit / equipment cannot be de-energized for the work deferred until the next schedule outage:

PART II: TO BE COMPLETED BY THE ELECTRICALLY QUALIFIED PERSON(S) DOING THE WORK:

|  | Check When Complete |
| --- | --- |
| Detailed job description procedure to be used in performing the above detailed work: or see HA* |  |
| Description of the Safe Work Practices to be employed: or see HA* |  |
| Results of the Shock Hazard Analysis: |  |
| Maximum Panel Voltage: |  |
| Maximum Panel Amperage: |  |
| Determination of Shock Protection Boundaries: or see HA* |  |
| Results of the Flash Hazard Analysis: or see HA* |  |
| Determination of the Flash Protection Boundary: or see HA* |  |
| Confirm adequate illumination (flashlights are not acceptable): |  |
| Necessary Personal Protective Equipment and other protective equipment to safely perform the assigned task: or see HA* |  |
| Means employed to restrict the access of unqualified persons from the work area: or see HA* |  |
| Job Briefing including discussion of any job-related hazards has been completed: see HA* |  |
| Do you agree the above described work can be done safely? Yes No (If no, return to requester) |  |

  - HA = Hazard Assessment (HA) and PPE Selection Form  (EHS-00010-F1)

________________________     _________________________	   _____________

Electrically Qualified Person		Electrically Qualified Person		   Date

Duration of Work (Time of Day): From:         AM /  PM       To:         AM /  PM

PART III: APPROVAL(S) TO PERFORM THE WORK WHILE ELECTRICALLY ENERGIZED

See Work Permit___________________________

Building and/or Clean Room Representative

_________________________________________            	__________________________

Contractor Supervisor or Safety Representative				Date

_________________________________________        	__________________________

EHS Representative				Date

NOTE: Once the work is completed, forward this form to the NYCREATES EHS Department for retention.