| Identification Number for Tank: | N2-SW-T-02 | Name of Inspector(s): |  |
| --- | --- | --- | --- |
| Tank Description: | Mixed Solvent Waste Collection Tank |  | Please print clearly |
| Tank Location: | NFN WWT2 | Month of Inspection: |  |
| Day | Time | 1. Is the secondary contain-ment free of waste and liquid? | 2. Is the system free of corrosion or damage? | 3. Are the liquid level detectors working? | 4. Liquid level recorded: | 5. Has the leak detector been activated & sent an alarm to the BMS? | 6. Are there any signs of visual leaks within the last 24 hrs? | 7. Are there any signs of visual leaks from the Transfer Pump N2-SW-P01? | 8. Are there any signs of visual leaks from the Solvent Waste Sump Pump N2-SW-P02? | Inspected By: |
|  |  | Y/N | Y/N | Y/N |  | Y/N | Y/N | Y/N | Y/N |  |
| Correct Answer | 06:45 | e.g.: Yes | e.g.: Yes | e.g.: Yes | e.g.: 48.1% | e.g.: No | e.g.: No | e.g.: No | e.g.: No | e.g.: Tom Colucci |
| 01 |  |  |  |  |  |  |  |  |  |  |
| 02 |  |  |  |  |  |  |  |  |  |  |
| 03 |  |  |  |  |  |  |  |  |  |  |
| 04 |  |  |  |  |  |  |  |  |  |  |
| 05 |  |  |  |  |  |  |  |  |  |  |
| 06 |  |  |  |  |  |  |  |  |  |  |
| 07 |  |  |  |  |  |  |  |  |  |  |
| 08 |  |  |  |  |  |  |  |  |  |  |
| 09 |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |  |
| 16 |  |  |  |  |  |  |  |  |  |  |
| 17 |  |  |  |  |  |  |  |  |  |  |
| 18 |  |  |  |  |  |  |  |  |  |  |
| 19 |  |  |  |  |  |  |  |  |  |  |
| 20 |  |  |  |  |  |  |  |  |  |  |
| 21 |  |  |  |  |  |  |  |  |  |  |
| 22 |  |  |  |  |  |  |  |  |  |  |
| 23 |  |  |  |  |  |  |  |  |  |  |
| 24 |  |  |  |  |  |  |  |  |  |  |
| 25 |  |  |  |  |  |  |  |  |  |  |
| 26 |  |  |  |  |  |  |  |  |  |  |
| 27 |  |  |  |  |  |  |  |  |  |  |
| 28 |  |  |  |  |  |  |  |  |  |  |
| 29 |  |  |  |  |  |  |  |  |  |  |
| 30 |  |  |  |  |  |  |  |  |  |  |
| 31 |  |  |  |  |  |  |  |  |  |  |
| Notes/Comments: If any of the answers above are different from the 'correct answer', the tank system operator must take proactive steps to investigate, repair, and/or replace the equipment, parts, or components and notify EHS immediately. |
| Instructions: This form may be used to conduct the required self-inspection of a hazardous waste tank system. The inspection by the tank system operator or owner is required on a daily basis. |
| Q1: Is secondary containment free of waste and liquid? Check for signs of liquid leaks or wetted parts. |
| Q2: Is system free of corrosion and evident of damage? Check for evidence of corrosion or damage on secondary containment or tank, such as peeling paint, rust, crystals forming, etc. |
| Q3: Are liquid level detectors working? Check if the level changed from one day to the other. |
| Q4: Liquid level recorded: Record the level (%) displayed on the Allen Bradley panel in WWT2. If the level dropped that means that the tank has pumped out, so change accumulation date on red 'Hazardous Waste Sticker' to today's date. |
| Q5: Has the leak detector been activated & sent an alarm to the BMS? Check the alarm history on Allen Bradley control panel in WWT2 to see if the containment leak detector has alarmed over the last 24 hours. |
| Q6: Any sign of visual leaks within the last 24 hours? Check the room's secondary containment for leaks. |
| Q7: Are there any signs of visual leaks from the Truck Loading Pump N2-SW-P03? Check the truck loading pump for leaks. |
| Q8: Are there any signs of visual leaks from the Solvent Waste Sump Pump N2-SW-P04? Check the room's sump pump for leaks. |