Machine Shop Location:       			Date of Inspection:

Inspector:

Inspector Contact Information:

|  | Yes | No | N/A | Comments |
| --- | --- | --- | --- | --- |
| Housekeeping |
| Does the area have a clean and orderly appearance? |  |  |  |  |
| Is the shop free from slip / trip / fall hazards? |  |  |  |  |
| Chemical Safety |
| Are chemical containers and cylinders clearly labeled with their contents? |  |  |  |  |
| Are containers in good condition? |  |  |  |  |
| Are incompatible materials separated? |  |  |  |  |
| Personal Protective Equipment (PPE) |
| Is appropriate PPE available, and used where required? |  |  |  |  |
| Are showers / eye wash stations labeled, accessible, and inspected monthly? |  |  |  |  |
| Fire Protection |
| Are exits clearly identifiable and accessible? |  |  |  |  |
| Are fire extinguishers available and clearly accessible? |  |  |  |  |
| Are all fire extinguishers mounted to the wall? |  |  |  |  |
| Have all fire extinguishers been serviced within the past 12 months and inspected monthly? |  |  |  |  |
| Are emergency pull stations visible and clearly accessible? |  |  |  |  |
| Do sprinkler heads have at least 18” of vertical clearance? |  |  |  |  |
| Are oily rags and combustible wastes kept in closed metal containers? |  |  |  |  |
| Are flammable liquids safely stored in approved containers / cabinets with self-closing doors, and grounded? |  |  |  |  |
| Electrical Safety |
| Is the area free from exposed wiring / frayed cords? |  |  |  |  |
| Are all disconnecting means labeled to indicate their use or equipment served? |  |  |  |  |
| Is at least three feet of cleared space provided in front of all electrical panels? |  |  |  |  |
| Are all electrical openings (knockouts) covered? |  |  |  |  |
| Are electrical enclosures (switches, outlets etc.) equipped with tight-fitting covers? |  |  |  |  |
| Are all extension cords equipped with a grounding conductor? |  |  |  |  |
| Are portable tools either grounded or double-insulated? |  |  |  |  |
| Equipment/Machinery |
| Is equipment free from any exposed moving parts / pinch points? |  |  |  |  |
| Is machine guarding in good condition and working properly? |  |  |  |  |
| Are emergency stop mechanisms identified and working properly? |  |  |  |  |
| Are all equipment controls clearly labeled? |  |  |  |  |
| Are all warning stickers legible? |  |  |  |  |
| Are all extension cords equipped with a grounding conductor? |  |  |  |  |
| Is equipment adequately secured against “walking” or moving while in operation? |  |  |  |  |
| Are bench/pedestal grinders adequately guarded and equipped with a work rest? (Work rest must be adjusted to within 1/8” of the grinding wheel.) |  |  |  |  |
| Is the adjustable tongue on the grinder kept adjusted within ¼” of the wheel? |  |  |  |  |
| Is compressed air pressure adequately controlled to protect area personnel? (Pressure at tip of air guns must be limited to < 30 psi if dead-ended.) |  |  |  |  |
| Is all equipment capable of being locked out during servicing? |  |  |  |  |
| Are all hand tools in good condition (i.e., no broken/cracked handles or parts)? |  |  |  |  |
| Material Storage and Handling |
| Is all material stacked in a stable manner? |  |  |  |  |
| Are compressed gas cylinders properly secured? |  |  |  |  |
| Are protective caps placed on all cylinders that are not in use? |  |  |  |  |
| Are mechanical devices available for use with heavy loads (> 50 lbs.)? |  |  |  |  |
| Are load ratings clearly marked on all hoisting equipment? |  |  |  |  |
| Occupational Health |
| Does ventilation have adequate flow (no excessive fumes / dust accumulation)? |  |  |  |  |
| Is local ventilation used where required? |  |  |  |  |
| Are noise levels not excessive? |  |  |  |  |
| Is lighting adequate? |  |  |  |  |
| Are there any repetitive motion concerns or awkward work postures? |  |  |  |  |
| Hazardous Waste |
| Are waste materials placed in the proper receptacles? |  |  |  |  |
| Is waste removed on a routine basis? |  |  |  |  |
| Are waste containers properly labeled? |  |  |  |  |
| Are spill cleanup materials available? |  |  |  |  |
| Miscellaneous |
| Note any other miscellaneous hazards not covered by checklist: |  |  |  |  |

Comments

Note any comments related to specific hazards uncovered during the inspection: